## Sheet1
Name | Blood Gas pH Analyzers
Code | E-LA-470
Follower/Leader | Follower
Technology Level | Secondary/Tertiary
Purpose | Blood gas/pH analyzers measure pH, PO2, and PCO2, typically from an arterial blood sample.
Specialty | Respiratory therapy departments, clinical and cardiopulmonary laboratories, critical care units, surgical suites and physician offices.
General Specifications | Mobility | Yes
| FDA Clearance | Yes
| CE Mark | Yes
| Portability | Yes
| Weight, kg (lb) | 7.3 (16)
| Dimentions (H x W x D), cm (in) | 32 x 37 x 18 (12.6 x 14.6 x 7.1)
Technical Specifications | Tests Available
Measured (range)
| BP, mm Hg | No
| Ca++, mmol/L | 0.1-5.0
| Cl-, mmol/L | Not specified
| Glucose, mg/dL | 20.0-500.0
| Hct, % | 15.0-65.0
| K+, mmol/L | 0.1-20.0
| Lactate, mmol/L | 0.3-15.0
| Na+, mmol/L | 100.0-200.0
| pCO2, mmHg | 5.0-150.0
| pH | 6.8-7.8
| pO2, mmHg | 0.0-760.0
| Analysis time, sec | 85
| Electrode | None
| Display | Color touchscreen
| Bar-code reader | Yes